## chart master
AVG WIND GEN CAPACITY:
Winter 08/09: 1695 MW
Winter 09/10: 2692 MW
Winter 09/10 saw considerably less wind generation than winter 08/09, despite substantially more capacity
Total Wind Generation in BPA Balancing Authority Area (SCADA/PI 79687 MW)

## data
TOTAL WIND GENERATION, WINTER 08/09 vs. WINTER 09/10 (Dec-Feb)
Total Wind Generation in BPA Balancing Authority Area (SCADA/PI 79687 MW); Transmission Technical Operations/TOT
WINTER 2008-09 (DEC-FEB) |  | WINTER 2009-10 (DEC-FEB) |  | DIFFERENCE
Avg Wind Capacity: | 1695 | Avg Wind Capacity: | 2692 | 58.82%
Avg Actual Wind Gen: | 403.3298 | Avg Actual Wind Gen: | 285.8571 | -29.13%
Avg Wind Capacity Factor: | 23.8% | Avg Wind Capacity Factor: | 10.62%
Avg Actual Wind Gen, Dec only: | 449.2325 | Avg Actual Wind Gen, Dec only: | 258.7137 | -42.41%
Avg Actual Wind Gen, Jan only: | 498.5378 | Avg Actual Wind Gen, Jan only: | 367.3341 | -26.32%
Avg Actual Wind Gen, Feb only: | 247.1002 | Avg Actual Wind Gen, Feb only: | 225.7019 | -8.66%
Data for Plot
AGCDISTB.AGCRPT..MW.79687 |  | AGCDISTB.AGCRPT..MW.79687 |  |  |  | Winter 08/09 | Winter 09/10
TOTAL WIND GENERATION |  | TOTAL WIND GENERATION |  |  | Dec | 449.2325 | 258.7137
2008-12-01 |  | 2009-12-01 |  |  | Jan | 498.5378 | 367.3341
2009-03-01 |  | 2010-03-01 |  |  | Feb | 247.1002 | 225.7019
Integrated Daily Averages |  | Integrated Daily Averages |  |  | Dec-Feb | 403.3298 | 285.8571
2008-12-01 | 397.8935 | 2009-12-01 | 366.7608
2008-12-02 | 929.6438 | 2009-12-02 | 103.1048
2008-12-03 | 81.2478 | 2009-12-03 | 28.2869
2008-12-04 | 48.4805 | 2009-12-04 | 78.3985
2008-12-05 | 100.6078 | 2009-12-05 | 154.9843
2008-12-06 | 643.3934 | 2009-12-06 | 1811.1733
2008-12-07 | 1073.0555 | 2009-12-07 | 445.9043
2008-12-08 | 753.4901 | 2009-12-08 | 44.6509
2008-12-09 | 399.5826 | 2009-12-09 | 36.7093
2008-12-10 | 615.7137 | 2009-12-10 | 7.2325
2008-12-11 | 53.207 | 2009-12-11 | 35.4947
2008-12-12 | 831.424 | 2009-12-12 | 17.7518
2008-12-13 | 725.1163 | 2009-12-13 | 382.3553
2008-12-14 | 671.4104 | 2009-12-14 | 409.898
2008-12-15 | 549.8817 | 2009-12-15 | 140.8008
2008-12-16 | 186.4872 | 2009-12-16 | 519.7755
2008-12-17 | 524.8646 | 2009-12-17 | 165.627
2008-12-18 | 139.5463 | 2009-12-18 | 26.09
2008-12-19 | 36.0012 | 2009-12-19 | 72.4062
2008-12-20 | 207.7082 | 2009-12-20 | 85.0454
2008-12-21 | 43.2549 | 2009-12-21 | 1123.9599
2008-12-22 | 41.7543 | 2009-12-22 | 944.5395
2008-12-23 | 7.289 | 2009-12-23 | 222.1273
2008-12-24 | 136.082 | 2009-12-24 | 11.3393
2008-12-25 | 448.5863 | 2009-12-25 | 69.6283
2008-12-26 | 513.6507 | 2009-12-26 | 165.6623
2008-12-27 | 1091.3655 | 2009-12-27 | 2.6227
2008-12-28 | 967.6235 | 2009-12-28 | 0.64694
2008-12-29 | 615.3266 | 2009-12-29 | 38.3321
2008-12-30 | 132.9041 | 2009-12-30 | 418.3627
2008-12-31 | 959.6155 | 2009-12-31 | 90.4543
2009-01-01 | 658.8868 | 2010-01-01 | 782.4753
2009-01-02 | 730.757 | 2010-01-02 | 874.2343
2009-01-03 | 72.8463 | 2010-01-03 | 52.6213
2009-01-04 | 135.8841 | 2010-01-04 | 54.8011
2009-01-05 | 1039.3909 | 2010-01-05 | 235.4122
2009-01-06 | 869.3976 | 2010-01-06 | 444.6842
2009-01-07 | 1121.3518 | 2010-01-07 | 374.9123
2009-01-08 | 1340.7042 | 2010-01-08 | 100.857
2009-01-09 | 837.4773 | 2010-01-09 | 3.6032
2009-01-10 | 838.8298 | 2010-01-10 | 1.897
2009-01-11 | 1212.6235 | 2010-01-11 | 83.1571
2009-01-12 | 977.6727 | 2010-01-12 | 283.8368
2009-01-13 | 941.7801 | 2010-01-13 | 772.9502
2009-01-14 | 12.4676 | 2010-01-14 | 474.0608
2009-01-15 | 0.41271 | 2010-01-15 | 861.0692
2009-01-16 | 0.093947 | 2010-01-16 | 152.2894
2009-01-17 | 0.00070023 | 2010-01-17 | 274.3396
2009-01-18 | 0 | 2010-01-18 | 745.9745
2009-01-19 | 0.030862 | 2010-01-19 | 549.5249
2009-01-20 | 0 | 2010-01-20 | 541.752
2009-01-21 | 0 | 2010-01-21 | 494.7202
2009-01-22 | 0.00018522 | 2010-01-22 | 654.6798
2009-01-23 | 4.2461 | 2010-01-23 | 1347.6662
2009-01-24 | 0.57855 | 2010-01-24 | 125.5748
2009-01-25 | 18.3116 | 2010-01-25 | 69.7649
2009-01-26 | 66.7753 | 2010-01-26 | 83.514
2009-01-27 | 820.1532 | 2010-01-27 | 111.0797
2009-01-28 | 1357.5676 | 2010-01-28 | 135.7546
2009-01-29 | 707.5938 | 2010-01-29 | 82.8558
2009-01-30 | 519.7616 | 2010-01-30 | 19.537
2009-01-31 | 1169.0768 | 2010-01-31 | 597.7566
2009-02-01 | 104.0365 | 2010-02-01 | 20.866
2009-02-02 | 229.0498 | 2010-02-02 | 62.1449
2009-02-03 | 58.1874 | 2010-02-03 | 44.4934
2009-02-04 | 0.57115 | 2010-02-04 | 408.0033
2009-02-05 | 60.841 | 2010-02-05 | 292.8216
2009-02-06 | 150.2525 | 2010-02-06 | 296.4473
2009-02-07 | 25.6803 | 2010-02-07 | 11.1232
2009-02-08 | 52.6492 | 2010-02-08 | 52.7396
2009-02-09 | 1005.1906 | 2010-02-09 | 25.7058
2009-02-10 | 328.6663 | 2010-02-10 | 69.7758
2009-02-11 | 47.0434 | 2010-02-11 | 265.4279
2009-02-12 | 168.0882 | 2010-02-12 | 785.7299
2009-02-13 | 550.9899 | 2010-02-13 | 157.7284
2009-02-14 | 16.3623 | 2010-02-14 | 234.2647
2009-02-15 | 257.1742 | 2010-02-15 | 100.3496
2009-02-16 | 56.8043 | 2010-02-16 | 333.9223
2009-02-17 | 68.9784 | 2010-02-17 | 106.7467
2009-02-18 | 96.4374 | 2010-02-18 | 103.6011
2009-02-19 | 12.7897 | 2010-02-19 | 115.0683
2009-02-20 | 9.7225 | 2010-02-20 | 347.5699
2009-02-21 | 37.689 | 2010-02-21 | 138.1529
2009-02-22 | 17.2485 | 2010-02-22 | 25.8805
2009-02-23 | 162.3347 | 2010-02-23 | 36.7979
2009-02-24 | 950.6509 | 2010-02-24 | 730.4076
2009-02-25 | 785.9553 | 2010-02-25 | 520.3964
2009-02-26 | 1178.988 | 2010-02-26 | 693.1536
2009-02-27 | 222.1559 | 2010-02-27 | 190.5301
2009-02-28 | 264.2682 | 2010-02-28 | 149.8055